{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":260,"n_cols":3,"rows_kept":260,"cut":false,"hidden":false,"merged":[]}
["id","partName","audioClipName"]
[1,"箱体","1.1 箱体"]
[2,"引线","1.2 引线"]
[3,"导线","1.3 导线"]
[4,"螺栓","1.4 螺栓"]
[5,"引线支架","1.5 引线支架"]
[6,"箱体","1.6 箱体"]
[7,"箱体外壳","1.7 箱体外壳"]
[8,"油面温度控制器","1.8 油面温度控制器"]
[9,"油面温度控制器","1.9 油面温度控制器"]
[10,"绕组温度控制器","1.10 绕组温度控制器"]
[11,"油箱外壳","1.11 油箱外壳"]
[12,"箱盖","1.12 箱盖"]
[13,"开关滤油机","1.13 开关滤油机"]
[14,"开关滤油机机箱","1.14 开关滤油机机箱"]
[15,"真空抽油-压力输油双功能复合管","1.15 真空抽油-压力输油双功能复合管"]
[16,"开关滤油机阀体","1.16 开关滤油机阀体"]
[17,"齿轮盒","1.17 齿轮盒"]
[18,"开关轴","1.18 开关轴"]
[19,"有载调压开关操作机构","1.19 有载调压开关操作机构"]
[20,"有载分接开关","1.20 有载分接开关"]
[21,"有载分接开关_03","1.21 有载分接开关_03"]
[22,"定位件","1.22 定位件"]
[23,"定位件","1.23 定位件"]
[24,"定位件（上）","1.24 定位件（上）"]
[25,"下部绝缘筒 选择开关","1.25 下部绝缘筒 选择开关"]
[26,"上拐臂","1.26 上拐臂"]
[27,"选择开关触头","1.27 选择开关触头"]
[28,"选择开关触头","1.28 选择开关触头"]
[29,"选择开关触头","1.29 选择开关触头"]
[30,"拔槽件","1.30 拔槽件"]
[31,"摇臂","1.31 摇臂"]
[32,"绝缘杆","1.32 绝缘杆"]
[33,"触桥","1.33 触桥"]
[34,"触桥","1.34 触桥"]
[35,"触桥_02","1.35 触桥_02"]
[36,"触桥_03","1.36 触桥_03"]
[37,"选择器上支座","1.37 选择器上支座"]
[38,"选择器下支座","1.38 选择器下支座"]
[39,"有载分接开关_01","1.39 有载分接开关_01"]
[40,"过渡电阻","1.40 过渡电阻"]
[41,"轴套","1.41 轴套"]
[42,"触头压板","1.42 触头压板"]
[43,"触头","1.43 触头"]
[44,"滑槽","1.44 滑槽"]
[45,"滑座组合","1.45 滑座组合"]
[46,"支撑杆","1.46 支撑杆"]
[47,"扇形件","1.47 扇形件"]
[48,"导杆组","1.48 导杆组"]
[49,"导套","1.49 导套"]
[50,"夹板组合","1.50 夹板组合"]
[51,"下滑板","1.51 下滑板"]
[52,"上滑板","1.52 上滑板"]
[53,"绝缘转轴托板","1.53 绝缘转轴托板"]
[54,"槽轮","1.54 槽轮"]
[55,"弧形板","1.55 弧形板"]
[56,"开关法兰托盘","1.56 开关法兰托盘"]
[57,"开关法兰头盖","1.57 开关法兰头盖"]
[58,"开关法兰大盘","1.58 开关法兰大盘"]
[59,"切换开关绝缘转轴","1.59 切换开关绝缘转轴"]
[60,"切换开关底板","1.60 切换开关底板"]
[61,"传动机构底座","1.61 传动机构底座"]
[62,"主轴","1.62 主轴"]
[63,"上部绝缘筒（外部）切换开关","1.63 上部绝缘筒（外部）切换开关"]
[64,"上部绝缘筒（内部）","1.64 上部绝缘筒（内部）"]
[65,"上部切换开关封盖","1.65 上部切换开关封盖"]
[66,"绕组","1.66 绕组"]
[67,"屏蔽管","1.67 屏蔽管"]
[68,"低压线圈","1.68 低压线圈"]
[69,"中压线圈","1.69 中压线圈"]
[70,"高压线圈","1.70 高压线圈"]
[71,"调压线圈","1.71 调压线圈"]
[72,"铁芯","1.72 铁芯"]
[73,"旁轭","1.73 旁轭"]
[74,"垫块","1.74 垫块"]
[75,"铁芯","1.75 铁芯"]
[76,"铁芯夹件","1.76 铁芯夹件"]
[77,"散热器","1.77 散热器"]
[78,"散热器","1.78 散热器"]
[79,"主导油管路","1.79 主导油管路"]
[80,"管路支架","1.80 管路支架"]
[81,"散热器","1.81 散热器"]
[82,"散热器开关","1.82 散热器开关"]
[83,"散热器","1.83 散热器"]
[84,"主导油管路","1.84 主导油管路"]
[85,"管路支架","1.85 管路支架"]
[86,"散热器","1.86 散热器"]
[87,"油枕","1.87 油枕"]
[88,"油枕支架","1.88 油枕支架"]
[89,"油枕外壳","1.89 油枕外壳"]
[90,"油枕人孔盖板固定螺栓","1.90 油枕人孔盖板固定螺栓"]
[91,"油枕人孔盖板","1.91 油枕人孔盖板"]
[92,"高压泄放主管","1.92 高压泄放主管"]
[93,"波纹管","1.93 波纹管"]
[94,"阀体","1.94 阀体"]
[95,"高压套管","1.95 高压套管"]
[96,"A相高压套管","1.96 A相高压套管"]
[97,"连接端子","1.97 连接端子"]
[98,"将军帽","1.98 将军帽"]
[99,"套管油枕","1.99 套管油枕"]
[100,"套管上瓷件","1.100 套管上瓷件"]
[101,"导杆头","1.101 导杆头"]
[102,"均压环","1.102 均压环"]
[103,"升高座法兰","1.103 升高座法兰"]
[104,"升高座","1.104 升高座"]
[105,"套管安装法兰","1.105 套管安装法兰"]
[106,"末屏","1.106 末屏"]
[107,"套管下瓷件","1.107 套管下瓷件"]
[108,"放气螺栓","1.108 放气螺栓"]
[109,"套管电容","1.109 套管电容"]
[110,"吊环","1.110 吊环"]
[111,"B相高压套管","1.111 B相高压套管"]
[112,"连接端子","1.112 连接端子"]
[113,"将军帽","1.113 将军帽"]
[114,"套管油枕","1.114 套管油枕"]
[115,"套管上瓷件","1.115 套管上瓷件"]
[116,"导杆头","1.116 导杆头"]
[117,"均压环","1.117 均压环"]
[118,"套管安装法兰","1.118 套管安装法兰"]
[119,"升高座法兰","1.119 升高座法兰"]
[120,"升高座","1.120 升高座"]
[121,"末屏","1.121 末屏"]
[122,"套管下瓷件","1.122 套管下瓷件"]
[123,"放气螺栓","1.123 放气螺栓"]
[124,"套管电容","1.124 套管电容"]
[125,"吊环","1.125 吊环"]
[126,"C相高压套管","1.126 C相高压套管"]
[127,"连接端子","1.127 连接端子"]
[128,"将军帽","1.128 将军帽"]
[129,"套管油枕","1.129 套管油枕"]
[130,"套管上瓷件","1.130 套管上瓷件"]
[131,"套管安装法兰","1.131 套管安装法兰"]
[132,"升高座法兰","1.132 升高座法兰"]
[133,"升高座","1.133 升高座"]
[134,"末屏","1.134 末屏"]
[135,"套管电容","1.135 套管电容"]
[136,"放气螺栓","1.136 放气螺栓"]
[137,"均压环","1.137 均压环"]
[138,"吊环","1.138 吊环"]
[139,"导电头","1.139 导电头"]
[140,"套管下瓷件","1.140 套管下瓷件"]
[141,"中压套管","1.141 中压套管"]
[142,"A相中压套管","1.142 A相中压套管"]
[143,"连接端子","1.143 连接端子"]
[144,"将军帽","1.144 将军帽"]
[145,"套管上瓷件","1.145 套管上瓷件"]
[146,"套管油枕","1.146 套管油枕"]
[147,"套管安装法兰","1.147 套管安装法兰"]
[148,"升高座法兰","1.148 升高座法兰"]
[149,"升高座","1.149 升高座"]
[150,"放气螺栓","1.150 放气螺栓"]
[151,"末屏","1.151 末屏"]
[152,"套管电容","1.152 套管电容"]
[153,"导杆头","1.153 导杆头"]
[154,"均压环","1.154 均压环"]
[155,"套管下瓷件","1.155 套管下瓷件"]
[156,"B相中压套管","1.156 B相中压套管"]
[157,"连接端子","1.157 连接端子"]
[158,"将军帽","1.158 将军帽"]
[159,"套管上瓷件","1.159 套管上瓷件"]
[160,"套管油枕","1.160 套管油枕"]
[161,"套管安装法兰","1.161 套管安装法兰"]
[162,"升高座法兰","1.162 升高座法兰"]
[163,"升高座","1.163 升高座"]
[164,"放气螺栓","1.164 放气螺栓"]
[165,"末屏","1.165 末屏"]
[166,"套管电容","1.166 套管电容"]
[167,"导杆头","1.167 导杆头"]
[168,"均压环","1.168 均压环"]
[169,"套管下瓷件","1.169 套管下瓷件"]
[170,"C相中压套管","1.170 C相中压套管"]
[171,"连接端子","1.171 连接端子"]
[172,"将军帽","1.172 将军帽"]
[173,"套管上瓷件","1.173 套管上瓷件"]
[174,"套管油枕","1.174 套管油枕"]
[175,"放气螺栓","1.175 放气螺栓"]
[176,"套管安装法兰","1.176 套管安装法兰"]
[177,"升高座法兰","1.177 升高座法兰"]
[178,"升高座","1.178 升高座"]
[179,"末屏","1.179 末屏"]
[180,"导管电容","1.180 导管电容"]
[181,"导杆头","1.181 导杆头"]
[182,"均压环","1.182 均压环"]
[183,"套管下瓷件","1.183 套管下瓷件"]
[184,"中压中性点","1.184 中压中性点"]
[185,"A相中压中性点","1.185 A相中压中性点"]
[186,"套管上瓷件","1.186 套管上瓷件"]
[187,"将军帽","1.187 将军帽"]
[188,"套管油枕","1.188 套管油枕"]
[189,"放气螺栓","1.189 放气螺栓"]
[190,"升高座","1.190 升高座"]
[191,"套管安装法兰","1.191 套管安装法兰"]
[192,"连接端子","1.192 连接端子"]
[193,"导杆头","1.193 导杆头"]
[194,"套管电容","1.194 套管电容"]
[195,"末屏","1.195 末屏"]
[196,"B相中压中性点","1.196 B相中压中性点"]
[197,"套管上瓷件","1.197 套管上瓷件"]
[198,"将军帽","1.198 将军帽"]
[199,"套管油枕","1.199 套管油枕"]
[200,"放气螺栓","1.200 放气螺栓"]
[201,"套管安装法兰","1.201 套管安装法兰"]
[202,"连接端子","1.202 连接端子"]
[203,"导杆头","1.203 导杆头"]
[204,"升高座","1.204 升高座"]
[205,"套管电容","1.205 套管电容"]
[206,"末屏","1.206 末屏"]
[207,"低压套管","1.207 低压套管"]
[208,"升高座手孔盖板","1.208 升高座手孔盖板"]
[209,"导电杆","1.209 导电杆"]
[210,"套管安装法兰","1.210 套管安装法兰"]
[211,"接线板","1.211 接线板"]
[212,"接线端子","1.212 接线端子"]
[213,"升高座","1.213 升高座"]
[214,"套管瓷件","1.214 套管瓷件"]
[215,"套管法兰的轴向紧固螺栓​","1.215 套管法兰的轴向紧固螺栓​"]
[216,"端子箱","1.216 端子箱"]
[217,"端子箱箱体","1.217 端子箱箱体"]
[218,"柜门","1.218 柜门"]
[219,"接地部分","1.219 接地部分"]
[220,"信号隔离分配端子板","1.220 信号隔离分配端子板"]
[221,"端子排","1.221 端子排"]
[222,"铁芯夹件接地套管","1.222 铁芯夹件接地套管"]
[223,"套管接线","1.223 套管接线"]
[224,"接地套管","1.224 接地套管"]
[225,"油管注放油阀","1.225 油管注放油阀"]
[226,"油箱注放油阀","1.226 油箱注放油阀"]
[227,"放油阀阀体","1.227 放油阀阀体"]
[228,"放油阀盖板","1.228 放油阀盖板"]
[229,"油箱注放油阀","1.229 油箱注放油阀"]
[230,"放油阀阀体","1.230 放油阀阀体"]
[231,"放油阀盖板","1.231 放油阀盖板"]
[232,"压力释放阀","1.232 压力释放阀"]
[233,"压力释放阀","1.233 压力释放阀"]
[234,"压力释放阀外壳","1.234 压力释放阀外壳"]
[235,"压力释放阀底座","1.235 压力释放阀底座"]
[236,"密封垫","1.236 密封垫"]
[237,"底座","1.237 底座"]
[238,"阀门","1.238 阀门"]
[239,"微动开关","1.239 微动开关"]
[240,"排气螺塞","1.240 排气螺塞"]
[241,"压力释放阀","1.241 压力释放阀"]
[242,"压力释放阀外壳","1.242 压力释放阀外壳"]
[243,"压力释放阀底座","1.243 压力释放阀底座"]
[244,"底座","1.244 底座"]
[245,"阀门","1.245 阀门"]
[246,"密封垫","1.246 密封垫"]
[247,"微动开关","1.247 微动开关"]
[248,"排气螺塞","1.248 排气螺塞"]
[249,"取样阀","1.249 取样阀"]
[250,"取样阀","1.250 取样阀"]
[251,"取样阀盖板","1.251 取样阀盖板"]
[252,"取样阀阀体","1.252 取样阀阀体"]
[253,"取样阀","1.253 取样阀"]
[254,"取样阀盖板","1.254 取样阀盖板"]
[255,"取样阀阀体","1.255 取样阀阀体"]
[256,"取样阀","1.256 取样阀"]
[257,"取样阀盖板","1.257 取样阀盖板"]
[258,"取样阀阀体","1.258 取样阀阀体"]
[259,"呼吸器","1.259 呼吸器"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}