{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":129,"n_cols":1,"rows_kept":129,"cut":false,"hidden":false,"merged":[]}
["moveName"]
["拆下接线板"]
["拆下均压环"]
["拆下静触头"]
["拆下接地刀静触头"]
["拆下接地刀静触头支架"]
["拆下瓷瓶法兰"]
["拆下瓷瓶"]
["拆下上导电臂"]
["拆下导电软连接"]
["拆下拔插"]
["拆下齿轮箱"]
["拆下下导电臂"]
["拆下操作支架"]
["拆下小拉杆"]
["拆下轴"]
["拆下拐臂"]
["拆下传动板"]
["拆下底座"]
["拆下上下连板"]
["拆下支架"]
["拆下连接轴"]
["拆下连接板"]
["拆下连接杆"]
["拆下联锁板"]
["拆下垂直操作杆"]
["拆下支瓶钢杆"]
["拆下抱箍"]
["拆下连接插件"]
["拆下门"]
["拆下控制面板"]
["拆下温控器"]
["拆下空开"]
["拆下保护器"]
["拆下接触器"]
["拆下传动杆"]
["拆下限位器"]
["拆下行程开关"]
["拆下辅助开关"]
["拆下电机"]
["拆下变速箱"]
["拆下箱体"]
["拆下齿轮杆"]
["拆下后导电臂"]
["拆下前导电臂"]
["拆下分闸缓冲器"]
["拆下拉杆"]
["拆下动触头"]
["拆下限位板"]
["拆下地刀静触头"]
["拆下端盖"]
["拆下地刀静触头支架"]
["拆下传动轴"]
["拆下连接头"]
["拆下法兰"]
["拆下最上面的瓷瓶"]
["拆下瓷瓶中"]
["拆下瓷瓶下"]
["拆下连杆"]
["拆下限位 "]
["拆下端盖上"]
["拆下连板"]
["拆下联锁盘"]
["拆下两个垂直"]
["拆下两个抱箍"]
["安装接线板"]
["安装均压环"]
["安装静触头"]
["安装接地刀静触头"]
["安装接地刀静触头支架"]
["安装瓷瓶法兰"]
["安装瓷瓶"]
["安装上导电臂"]
["安装导电软连接"]
["安装拔插"]
["安装齿轮箱"]
["安装下导电臂"]
["安装操作支架"]
["安装小拉杆"]
["安装轴"]
["安装拐臂"]
["安装传动板"]
["安装底座"]
["安装上下连板"]
["安装支架"]
["安装连接轴"]
["安装连接板"]
["安装连接杆"]
["安装联锁板"]
["安装垂直操作杆"]
["安装支瓶钢杆"]
["安装抱箍"]
["安装连接插件"]
["安装门"]
["安装控制面板"]
["安装温控器"]
["安装空开"]
["安装保护器"]
["安装接触器"]
["安装传动杆"]
["安装限位器"]
["安装行程开关"]
["安装辅助开关"]
["安装电机"]
["安装变速箱"]
["安装箱体"]
["安装齿轮杆"]
["安装后导电臂"]
["安装前导电臂"]
["安装分闸缓冲器"]
["安装拉杆"]
["安装动触头"]
["安装限位板"]
["安装地刀静触头"]
["安装端盖"]
["安装地刀静触头支架"]
["安装传动轴"]
["安装连接头"]
["安装法兰"]
["安装最上面的瓷瓶"]
["安装瓷瓶中"]
["安装瓷瓶下"]
["安装连杆"]
["安装限位 "]
["安装端盖上"]
["安装连板"]
["安装联锁盘"]
["安装两个垂直"]
["安装两个抱箍"]