{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":51,"n_cols":1,"rows_kept":51,"cut":false,"hidden":false,"merged":[]}
["moveName"]
["防爆盖"]
["上接线板"]
["静触头"]
["静弧触头"]
["泄弧剂"]
["绝缘拉杆"]
["法兰（外部端子接线端）"]
["灭弧室"]
["灭弧室瓷套"]
["压气缸"]
["下接线板"]
["连接轴销"]
["立柱瓷套下法兰"]
["绝缘子"]
["绝缘瓷套"]
["操作箱柜门"]
["复位弹簧"]
["合闸线圈"]
["分闸线圈"]
["限位开关"]
["电机二次接线"]
["储能电机"]
["辅助开关"]
["储能凸轮"]
["小齿轮"]
["齿轮轴"]
["弹簧输出轴"]
["传动齿轮"]
["合闸脱扣器"]
["合闸掣子"]
["分闸掣子"]
["合闸保持弹簧"]
["分闸线圈复位弹簧"]
["合闸线圈复位弹簧"]
["机构箱支撑架"]
["机构合闸弹簧"]
["软管"]
["机构箱外壳"]
["基座"]
["相间连杆"]
["六氟化硫连接管路"]
["六氟化硫密度继电器"]
["阀座"]
["小拐臂连杆"]
["防雨罩"]
["拐臂"]
["A拐臂"]
["C拐臂"]
["固定架"]
["横梁"]