{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":85,"n_cols":1,"rows_kept":85,"cut":false,"hidden":false,"merged":[]}
["moveName"]
["拆下上接线端子"]
["拆下静触头"]
["拆下上瓷瓶瓷套"]
["拆下压气缸"]
["拆下下接线端子"]
["拆下轴销"]
["拆下绝缘拉杆"]
["拆下下瓷瓶瓷套"]
["拆下柜门"]
["拆下绝缘拉杆下端连接轴销"]
["拆下拐臂箱轴销"]
["拆下拐臂箱内拐臂与绝缘拉杆间连板"]
["拆下两拐臂间连杆轴销"]
["拆下两拐臂间连杆"]
["拆下拐臂与机构输出拐臂间连杆轴销"]
["拆下拐臂与机构输出拐臂间连杆"]
["拆下两拐臂轴销"]
["拆下两拐臂"]
["拆下合闸铁芯顶杆复位弹簧"]
["拆下合闸线圈"]
["拆下分闸线圈"]
["拆下位置开关"]
["拆下电机二次接线"]
["拆下电机"]
["拆下灯"]
["拆下密度继电器"]
["拆下接线板"]
["拆下销轴"]
["拆下合闸弹簧拉杆"]
["拆下分闸弹簧"]
["拆下辅助开关"]
["拆下合闸储能弹簧"]
["拆下大齿轮"]
["拆下储能拉杆"]
["拆下储能棘轮"]
["拆下储能棘爪"]
["拆下分合闸指示器"]
["拆下机构输出拐臂"]
["拆下储能指示器"]
["拆下凸轮"]
["拆下机构箱支撑架"]
["拆下机构箱外壳"]
["安装上接线端子"]
["安装静触头"]
["安装上瓷瓶瓷套"]
["安装压气缸"]
["安装下接线端子"]
["安装轴销"]
["安装绝缘拉杆"]
["安装下瓷瓶瓷套"]
["安装柜门"]
["安装绝缘拉杆下端连接轴销"]
["安装拐臂箱轴销"]
["安装拐臂箱内拐臂与绝缘拉杆间连板"]
["安装两拐臂间连杆轴销"]
["安装两拐臂间连杆"]
["安装拐臂与机构输出拐臂间连杆轴销"]
["安装拐臂与机构输出拐臂间连杆"]
["安装两拐臂轴销"]
["安装两拐臂"]
["安装合闸铁芯顶杆复位弹簧"]
["安装合闸线圈"]
["安装分闸线圈"]
["安装位置开关"]
["安装电机二次接线"]
["安装电机"]
["安装灯"]
["安装密度继电器"]
["安装接线板"]
["安装销轴"]
["安装合闸弹簧拉杆"]
["安装分闸弹簧"]
["安装辅助开关"]
["安装合闸储能弹簧"]
["安装大齿轮"]
["安装储能拉杆"]
["安装储能棘轮"]
["安装储能棘爪"]
["安装分合闸指示器"]
["安装机构输出拐臂"]
["安装储能指示器"]
["安装凸轮"]
["安装机构箱支撑架"]
["安装机构箱外壳"]