{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":105,"n_cols":1,"rows_kept":105,"cut":false,"hidden":false,"merged":[]}
["moveName"]
["拆下接线板"]
["拆下接线座"]
["拆下导电触指臂散热板"]
["拆下触指片"]
["拆下导电触指臂主体"]
["拆下导电触头臂散热板"]
["拆下地刀静触头"]
["拆下触指压板"]
["拆下导电触头臂主体"]
["拆下第一节绝缘子"]
["拆下第二节绝缘子"]
["拆下地刀动触指"]
["拆下接地刀闸"]
["拆下交叉连杆和固定丝扣"]
["拆下相间连杆"]
["拆下轴承盘底座"]
["拆下U型卡和轴销"]
["拆下主拉杆"]
["拆下轴承"]
["拆下轴套"]
["拆下磁柱旋转轴"]
["拆下丝扣固定螺栓"]
["拆下轴承座"]
["拆下地刀软连接"]
["拆下固定板"]
["拆下U型抱箍"]
["拆下地刀拉杆"]
["拆下拐臂及传动轴"]
["拆下闭锁轴"]
["拆下主地刀联锁版"]
["拆下闭锁板"]
["拆下闭锁装置固定板"]
["拆下地刀抱箍"]
["拆下地刀闭锁板"]
["拆下地刀相间连杆"]
["拆下柜门"]
["拆下抱箍"]
["拆下控制面板"]
["拆下端子排"]
["拆下连接插件"]
["拆下端子排固定板"]
["拆下辅助开关"]
["拆下分闸行程开关"]
["拆下合闸行程开关"]
["拆下连接轴"]
["拆下手动闭锁开关"]
["拆下电机和减速机"]
["拆下机构箱外壳"]
["拆下固定架"]
["拆下固定销"]
["拆下主刀拉杆"]
["拆下横梁"]
["安装接线板"]
["安装接线座"]
["安装导电触指臂散热板"]
["安装触指片"]
["安装导电触指臂主体"]
["安装导电触头臂散热板"]
["安装地刀静触头"]
["安装触指压板"]
["安装导电触头臂主体"]
["安装第一节绝缘子"]
["安装第二节绝缘子"]
["安装地刀动触指"]
["安装接地刀闸"]
["安装交叉连杆和固定丝扣"]
["安装相间连杆"]
["安装轴承盘底座"]
["安装U型卡和轴销"]
["安装主拉杆"]
["安装轴承"]
["安装轴套"]
["安装磁柱旋转轴"]
["安装丝扣固定螺栓"]
["安装轴承座"]
["安装地刀软连接"]
["安装固定板"]
["安装U型抱箍"]
["安装地刀拉杆"]
["安装拐臂及传动轴"]
["安装闭锁轴"]
["安装主地刀联锁版"]
["安装闭锁板"]
["安装闭锁装置固定板"]
["安装地刀抱箍"]
["安装地刀闭锁板"]
["安装地刀相间连杆"]
["安装柜门"]
["安装抱箍"]
["安装控制面板"]
["安装端子排"]
["安装连接插件"]
["安装端子排固定板"]
["安装辅助开关"]
["安装分闸行程开关"]
["安装合闸行程开关"]
["安装连接轴"]
["安装手动闭锁开关"]
["安装电机和减速机"]
["安装机构箱外壳"]
["安装固定架"]
["安装固定销"]
["安装主刀拉杆"]
["安装横梁"]