{"text_format":"2","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":52,"n_cols":3,"rows_kept":52,"cut":false,"hidden":false,"merged":[]}
["id","partName","audioClipName"]
[1,"扇叶",1]
[2,"叶片",2]
[3,"防雨罩壳",3]
[4,"桨毂舱盖",4]
[5,"桨毂组",5]
[6,"限位器组",6]
[7,"变矩电机",7]
[8,"轴承外圈",8]
[9,"轴承内圈",9]
[10,"变距控制柜",10]
[11,"润滑油泵",11]
[12,"机舱",12]
[13,"机舱外壳",13]
[14,"风速计",14]
[15,"风向计",15]
[16,"机舱顶部舱门",16]
[17,"机舱外壳",17]
[18,"机舱励磁组件",18]
[19,"励磁器",19]
[20,"编码器",20]
[21,"机舱发电机",21]
[22,"机舱控制柜消防设施组",22]
[23,"机舱偏航变频柜",23]
[24,"机舱小吊车",24]
[25,"机舱控制柜",25]
[26,"机舱变速箱",26]
[27,"液压油装置组",27]
[28,"机舱底座组",28]
[29,"检修爬梯组",29]
[30,"偏航电机组",30]
[31,"底座组",31]
[32,"塔筒组",32]
[33,"上段塔筒",33]
[34,"中上段塔筒",34]
[35,"中段塔筒",35]
[36,"中下段塔筒",36]
[37,"底段塔筒",37]
[38,"塔筒底部舱门",38]
[39,"变流柜",39]
[40,"底段塔筒",40]
[41,"塔底组",41]
[42,"塔筒底部步梯",42]
[43,"塔筒底部通风设备",43]
[44,"风机底座",44]
[45,"摄像头立杆",45]
[46,"箱式变电站",46]
[47,"高压警示检修门",47]
[48,"控制室门",48]
[49,"高压室门",49]
[50,"避雷器检测器",50]
[51,"箱式变电站外壳",51]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}