{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":85,"n_cols":1,"rows_kept":85,"cut":false,"hidden":false,"merged":[]}
["moveName"]
["拆下接线端子"]
["拆下密封罩"]
["拆下均压环"]
["拆下密封盖"]
["拆下密封垫"]
["拆下油枕及弹簧"]
["拆下导电杆"]
["拆下套管上瓷件"]
["拆下末屏"]
["拆下套管安装法兰"]
["拆下升高座法兰"]
["拆下套管下瓷件"]
["拆下升高座"]
["拆下接线板"]
["拆下连接端子"]
["拆下风扇"]
["拆下冷却器"]
["拆下风冷控制箱"]
["拆下潜油泵"]
["拆下油流继电器"]
["拆下油泵管"]
["拆下储油柜连气管"]
["拆下油枕人孔盖板"]
["拆下油位表"]
["拆下胶囊"]
["拆下放气螺栓"]
["拆下主储油柜"]
["拆下油枕支架"]
["拆下呼吸器"]
["拆下储油柜连管"]
["拆下取气盒"]
["拆下铭牌"]
["拆下接地套管"]
["拆下机构箱"]
["拆下瓦斯继电器"]
["拆下压力释放阀"]
["拆下油温度指示控制器"]
["拆下突发压力继电器"]
["拆下分接开关"]
["拆下器身"]
["拆下绕阻线圈"]
["拆下铁芯"]
["安装接线端子"]
["安装密封罩"]
["安装均压环"]
["安装密封盖"]
["安装密封垫"]
["安装油枕及弹簧"]
["安装导电杆"]
["安装套管上瓷件"]
["安装末屏"]
["安装套管安装法兰"]
["安装升高座法兰"]
["安装套管下瓷件"]
["安装升高座"]
["安装接线板"]
["安装连接端子"]
["安装风扇"]
["安装冷却器"]
["安装风冷控制箱"]
["安装潜油泵"]
["安装油流继电器"]
["安装油泵管"]
["安装储油柜连气管"]
["安装油枕人孔盖板"]
["安装油位表"]
["安装胶囊"]
["安装放气螺栓"]
["安装主储油柜"]
["安装油枕支架"]
["安装呼吸器"]
["安装储油柜连管"]
["安装取气盒"]
["安装铭牌"]
["安装接地套管"]
["安装机构箱"]
["安装瓦斯继电器"]
["安装压力释放阀"]
["安装油温度指示控制器"]
["安装突发压力继电器"]
["安装分接开关"]
["安装器身"]
["安装绕阻线圈"]
["安装铁芯"]