{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":173,"n_cols":1,"rows_kept":173,"cut":false,"hidden":false,"merged":[]}
["moveName"]
["拆下电源线"]
["拆下开关板"]
["拆下端子排"]
["拆下上柜门"]
["拆下中柜门"]
["拆下二次插头"]
["拆下加热器"]
["拆下面板"]
["拆下线"]
["拆下二次元件面板"]
["拆下输出轴"]
["拆下合闸传动机构"]
["拆下辅助开关连杆"]
["拆下辅助开关拐臂"]
["拆下辅助开关本体"]
["拆下辅助开关"]
["拆下储能行程开关"]
["拆下储能指示牌固定轴"]
["拆下储能指示牌"]
["拆下储能轴"]
["拆下储能拐臂"]
["拆下驱动销"]
["拆下滑块"]
["拆下滚轮"]
["拆下储能传动轮"]
["拆下储能指示驱动板"]
["拆下合闸凸轮"]
["拆下传动链条"]
["拆下大链轮"]
["拆下分闸线圈"]
["拆下分闸按钮"]
["拆下分闸半轴"]
["拆下分闸扇形板"]
["拆下连杆"]
["拆下分闸质子"]
["拆下拐臂"]
["拆下分闸缓冲器"]
["拆下合闸弹簧"]
["拆下合闸挚子"]
["拆下合闸半轴"]
["拆下合闸按钮"]
["拆下合闸线圈"]
["拆下分合闸指示牌连杆"]
["拆下分合闸固定轴"]
["拆下连接弹簧"]
["拆下分合闸指示牌"]
["拆下计数器"]
["拆下输出拐臂"]
["拆下输出连杆"]
["拆下连板"]
["拆下轴"]
["拆下转子"]
["拆下定子"]
["拆下电机外壳"]
["拆下电机输出轴"]
["拆下减速器齿轮"]
["拆下减速机外壳"]
["拆下小链轮"]
["拆下涡轮"]
["拆下手动储能蜗杆"]
["拆下手动储能机构外壳"]
["拆下手车位置闭锁装置"]
["拆下行程开关"]
["拆下断路器外壳"]
["拆下小母线顶盖板"]
["拆下小母线底盖板"]
["拆下柜顶小母线"]
["拆下接地刀连杆"]
["拆下接地开关操作机构"]
["拆下母线隔室后封板"]
["拆下柜体部分"]
["拆下泄压盖板"]
["拆下底盘"]
["拆下一次静触头盒"]
["拆下下柜门"]
["拆下电流表"]
["拆下上后封板"]
["拆下分支母线"]
["拆下支持绝缘子"]
["拆下下后封板"]
["拆下出线引线"]
["拆下电流互感器"]
["拆下引线"]
["拆下接地开关"]
["拆下零序电流互感器"]
["拆下线路避雷器"]
["安装电源线"]
["安装开关板"]
["安装端子排"]
["安装上柜门"]
["安装中柜门"]
["安装二次插头"]
["安装加热器"]
["安装面板"]
["安装线"]
["安装二次元件面板"]
["安装输出轴"]
["安装合闸传动机构"]
["安装辅助开关连杆"]
["安装辅助开关拐臂"]
["安装辅助开关本体"]
["安装辅助开关"]
["安装储能行程开关"]
["安装储能指示牌固定轴"]
["安装储能指示牌"]
["安装储能轴"]
["安装储能拐臂"]
["安装驱动销"]
["安装滑块"]
["安装滚轮"]
["安装储能传动轮"]
["安装储能指示驱动板"]
["安装合闸凸轮"]
["安装传动链条"]
["安装大链轮"]
["安装分闸线圈"]
["安装分闸按钮"]
["安装分闸半轴"]
["安装分闸扇形板"]
["安装连杆"]
["安装分闸质子"]
["安装拐臂"]
["安装分闸缓冲器"]
["安装合闸弹簧"]
["安装合闸挚子"]
["安装合闸半轴"]
["安装合闸按钮"]
["安装合闸线圈"]
["安装分合闸指示牌连杆"]
["安装分合闸固定轴"]
["安装连接弹簧"]
["安装分合闸指示牌"]
["安装计数器"]
["安装输出拐臂"]
["安装输出连杆"]
["安装连板"]
["安装轴"]
["安装转子"]
["安装定子"]
["安装电机外壳"]
["安装电机输出轴"]
["安装减速器齿轮"]
["安装减速机外壳"]
["安装小链轮"]
["安装涡轮"]
["安装手动储能蜗杆"]
["安装手动储能机构外壳"]
["安装手车位置闭锁装置"]
["安装行程开关"]
["安装断路器外壳"]
["安装小母线顶盖板"]
["安装小母线底盖板"]
["安装柜顶小母线"]
["安装接地刀连杆"]
["安装接地开关操作机构"]
["安装母线隔室后封板"]
["安装柜体部分"]
["安装泄压盖板"]
["安装底盘"]
["安装一次静触头盒"]
["安装下柜门"]
["安装电流表"]
["安装上后封板"]
["安装分支母线"]
["安装支持绝缘子"]
["安装下后封板"]
["安装出线引线"]
["安装电流互感器"]
["安装引线"]
["安装接地开关"]
["安装零序电流互感器"]
["安装线路避雷器"]